
SITE INSTRUCTION NO. M-2
MECHANICAL WORK
FOR
ALEXANDRA PARK
DELTERA
NOVATREND ENGINEERING GROUP LTD.



Date:  March 3, 2015
1. Reference drawing M-3 (Issued)

a. Floor drain added in corridor due to ramp.
2. Reference drawing M-24 (Issued)

a. Fresh air supplies added in bathrooms in suite 823 & 824 due to heat loss from roof.
3. Reference drawing M-28 (Issued)
a. Gas pipe added to suites 1005 & 1008 as requested by David Dawe.
4. Reference drawing M-32 (Issued)

a. Fresh air supplies added in bathrooms in suites PH05, PH11, PH12, PH20 & PH29 due to heat loss from roof. 

b. Fresh air supply added in bathroom of suite PH19 & PH21 due to heat loss from roof and exposure to exterior wall.
Site Instruction # M-2
Page 1 of 1

